## Sheet1
TCS Ring Heater In-Vacuum Continuity Check: RH SN3, BSC6, Dec. 16, 2011, CV
Pins used to measure on connector J9 | Measured Resistance at J9 (ohms) | Comment
11,23 | 36.7 | Upper Heater
11,22 | 36.7 | Upper Heater
11,21 | 36.6 | Upper Heater
11,20 | 36.6 | Upper Heater
10,20 | 36.6 | Upper Heater
9,20 | 36.7 | Upper Heater
8,20 | 36.7 | Upper Heater
12,13 | 1.1 | Roundtrip invac wire resistance
9,10 | 1.4 | Roundtrip invac wire resistance
10,11 | 1.4 | Roundtrip invac wire resistance
24,25 | 1.2 | Roundtrip invac wire resistance
13,25 | open | RTD broken
5,17 | 36.7 | Lower Heater
5,16 | 36.7 | Lower Heater
5,15 | 36.7 | Lower Heater
5,14 | 36.7 | Lower Heater
4,14 | 36.4 | Lower Heater
3,14 | 36.5 | Lower Heater
2,14 | 36.5 | Lower Heater
6,7 | 1.2 | Roundtrip invac wire resistance
3,4 | 1.4 | Roundtrip invac wire resistance
4,5 | 1.4 | Roundtrip invac wire resistance
18,19 | 1.2 | Roundtrip invac wire resistance
7,19 | open | RTD broken