## Sheet1
aLIGO SUS, Testing Procedure: Result data sheet
Copy this model document into the local folder corresponding to the suspension you are currently testing
The procedure linked to this document is: aLIGO SUS, Testing Procedure DCC # XXXX
This model datasheet takes as an example a HLTS suspension
Step 1: Set up offsets and gains of the OSEMs
OSEM | Offset value (counts) | Gain value
M1 – T1
M1 – T2
M1 – T3
M1 – LF
M1 – RT
M1 – SD
Step 2: Centering OSEMs
OSEM | Mean value (counts | Standard Deviation (Counts)
M1 – T1
M1 – T2
M1 – T3
M1 – LF
M1 – RT
M1 – SD
M2 – UL
M2 – UR
M2 – LL
M2 – LR
M3 – UL
M3 – UR
M3 – LL
M3 – LR
Step 3: Local static test
Drive
|  | M1 – T1 | M1 – T2 | M1 – T3 | M1 – LF | M1 – RT | M1 – SD
Response | M1 – T1
M1 – T2
M1 – T3
M1 – LF
M1 – RT
M1 – SD
Step 4: Euler static test
Drive
|  | Long | Trans | Vert | Roll | Pitch | Yaw
Response | Long
Trans
Vert
Roll
Pitch
Yaw
Step 5: Linearity Test
Location of the plots:
/ligo/svncommon/.../XXX.fig
Step 6: Diagonalisation
Location of the plots:
/ligo/svncommon/.../XXX.fig
Step 7: Pitch & Longitudinal transfer functions
Step 8: Full set of transfer functions
Location of the result file:
/ligo/svncommon/.../XXX.mat
Step 9: Plot the transfer functions
Location of the plots:
/ligo/svncommon/.../XXX.fig